# BTM - Traceability Matrix

BQS 1.02.01 traceability matrix with reference to issues corrected/ stories implemented is the following:

| Requirement Number | Description | Issue / Story | Test Case |
| --- | --- | --- | --- |
|  | VEEG no more synchronized after the recovery exceeds 2GB with blackmagic and 256 channels Test Case | 2967 | 1754 |
|  | VEEG no more synchronized when there is the trace change after a recovery using IP Axis Camera and 256 channels Test Case | 2965 | 1755 |
|  | BTM firmware crashes if an external software opens and closes sockets at the port 2000 Test Case | 2794 | 1756 |